## Contents (hidden)
|  | NZ$ > US$ | 0.7
|  | NZ$ > EUR | 0.62
|  | NZ$ > GBP | 0.47
International Price Discount Schedule
Page | Description
3 | Discount table / XU Universal input transmitter series
4 | Loop powered / Plug-in / Frequency Transmitters
5 | Signal / Differential Pressure / Indicators
6 | pH / Humidity / Signal Generator / Overvoltage / Light Intensity / Instrument Power Supplies
7 | Wireless Z-2400-A2 Series / Multiplexers / Comms Converters / 2300 Series Remote Stations
8 | Multiplexers / 2400/2100 Series Remote Stations / eze System
9 | Mini packs - Complete Chart Recorder replacement packages / Submersible Level Transmitters
10 | Data logging and SCADA Software Packages
11 | MA5 / Shimaden Lite Software / Z-2400 Series (Wireless MicroScan and Data Logging Communication)
12 | Data loggers
13 | Data loggers (continued)
14 | Environmental Monitoring Systems
15 | Weather Sensor Transmitters - 4~20mA Outputs / pH sensors
Note: | Page numbers shown on tabs are designed to match the PDF version of this pricelist

## Page 3
Intech Instruments Ltd Distributor Price List - 2022
International Price Discount Schedule
(per purchase order)
| NZ$ | US$ / EUR | Discount
| 0~2,000 | 0~1,000 | 0%
| 2,001~7,500 | 1,001~5,000 | 10%
| 7,501~12,000 | 5,001~8,500 | 15%
| 12,001~28,000 | 8,501~19,000 | 20%
| 28,001 up | 19,001 up | 23%
Notes:
On any one purchase order, take the total list price of all items you will be ordering.
Match this total price against the above list, and deduct the appropriate discount.
Please ensure you use the correct currency from the table above.
All prices are FOB Christchurch, New Zealand
All bank charges to your account
Model | Description | Price Per Unit (NZ$) | Price Per Unit (US$) | Price Per Unit (EUR)
XU Universal Input Transmitter Series - Processor, USB Programmable |  | NZ$ | US$ | EUR€
XU2 | Loop Powered Transmitter Isolated Universal Input | 150 | 105 | 93
XU2HI | Head Mount Loop Powered Transmitter Isolated RTD & Thermocouple | 140 | 98 | 87
XU2HN | Head Mount Loop Powered Transmitter Non Isolated RTD only | 72 | 51 | 45
XU-Spring-Kit | For vibration areas or where wide ambient temperatures exist on the probe head. | 10 | 7 | 7
XU4 | 4 wire (powered) Transmitter Isolated Universal Input | 186 | 131 | 116
XU-USB (Rev 1) | USB Programming Key for programming XU Transmitters with XU Software | 74 | 52 | 46
XJ2 | Single Loop Powered Transmitter - Universal Input, Analogue | 192 | 135 | 120
XJ22 | Dual Loop Powered Transmitter - Universal Input, Analogue | 332 | 233 | 206
XJ4 | Single 4 wire (powered) Transmitter - Universal Input, Analogue | 298 | 209 | 185
XID-L1 | Single 4~20 to 4~20mA Loop powered isolator, Input Resistance 250Ω | 163 | 115 | 102
XID-L2 | Dual 4~20 to 4~20mA Loop powered isolators, Input Resistance 250Ω | 292 | 205 | 182
XID-L4 | Quad 4~20 to 4~20mA Loop powered isolators, Input Resistance 250Ω | 464 | 325 | 288
XID-P1 | Single 4~20 to 4~20mA 24Vdc powered isolator | 192 | 135 | 120
XI-L1 | Single 4~20 to 4~20mA Loop powered isolator, Input Resistance 50Ω | 187 | 131 | 116
XI-L2 | Dual 4~20 to 4~20mA Loop powered isolators, Input Resistance 50Ω | 357 | 250 | 222
XI-L4 | Quad 4~20 to 4~20mA Loop powered isolators, Input Resistance 50Ω | 538 | 377 | 334
XI-P1 | Single 4~20 to 4~20mA Input powered isolator | 230 | 161 | 143
XI-P2 | Dual 4~20 to 4~20mA Input powered isolators | 400 | 280 | 248
XI-P4 | Quad 4~20 to 4~20mA Input powered isolators | 592 | 415 | 368
Discount
23%
0%
10%
20%
15%

## Page 4
Loop powered / Plug-in / Frequency Transmitters
Loop powered transmitters - Analogue |  | NZ$ | US$ | EUR€
LPI-D-F | DC to DC isolating signal transmitter (Not frequency input - see LPI-F-D below) | 196 | 138 | 122
LPI-D-P | DC to DC isolating signal transmitter | 245 | 172 | 152
LPI-B | Bridge to DC isolating signal transmitter | 311 | 218 | 193
LPI-P | Potentiometer to DC isolating transmitter | 289 | 203 | 180
LPI-R-F | RTD to DC isolating transmitter | 204 | 143 | 127
LPI-R-P | RTD to DC isolating transmitter | 250 | 175 | 155
LPN-R-H | RTD Pt100 to 4~20mA In-head transmitter | 102 | 72 | 64
LPN-R-H-D | DIN Rail Mount Foot option for LPN-R-H | 20 | 14 | 13
LPI-T-F | Thermocouple to DC isolating transmitter | 252 | 177 | 157
LPN-R-X1 | Single RTD to DC non isolating transmitter | 136 | 96 | 85
LPI-CT-X1 | Single LPI-CT CT transmitter | 216 | 152 | 134
LPI-CT-X2 | Dual LPI-CT CT transmitters | 328 | 230 | 204
INCCT Series - Split Core Current Transmitters & Switch |  | NZ$ | US$ | EUR€
INCCT-521-SP | Current transmitter. Selectable ranges: 10A, 20A, 50A. Output 4~20mA. | 92 | 65 | 58
INCCT-2151-SP | Current transmitter. Selectable ranges: 100A, 150A, 200A. Output 4~20mA. | 92 | 65 | 58
INCCT-521-RMS | Current transmitter. Selectable ranges: 10A, 20A, 50A. True RMS. Output 4~20mA. | 104 | 73 | 65
INCCT-2151-RMS | Current transmitter. Selectable ranges: 100A, 150A, 200A. True RMS. Output 4~20mA. | 104 | 73 | 65
INCCS-04K-SW | Current switch. Adjustable: 1.5~200A in 3x ranges, self-powered. | 71 | 50 | 45
Plug-in transmitters | Analogue - Power supply: 85~264Vac/dc or 22~85Vac/dc selectable | NZ$ | US$ | EUR€
PI-D | DC to DC isolating signal transmitter | 380 | 266 | 236
PI-F | Frequency to DC isolating signal transmitter | 479 | 336 | 297
PI-B | Bridge to DC isolating signal transmitter | 434 | 304 | 270
PI-M | Maths function, DC to DC isolating transmitter with 3 inputs (LV option NOT available) | 528 | 370 | 328
PI-K | Resistance to DC isolating transmitter | 477 | 334 | 296
PI-P | Potentiometer to DC isolating transmitter (LV option NOT available) | 412 | 289 | 256
PI-R | RTD Pt100 to DC isolating transmitter (LV Power supply option NOT available) | 464 | 325 | 288
PI-S | Set point alarm unit. Two set points, two relay outputs | 474 | 332 | 294
LV | Power supply of 10~28Vac/dc fitted to any PI series transmitter (not for PI-M, PI-P or PI-R) | 70 | 49 | 44
Frequency to DC loop powered transmitter |  | NZ$ | US$ | EUR€
LPI-F-D | Frequency Input, 4~20mA Output - DIN rail mount unit | 310 | 217 | 193
DC to frequency transmitters |  | NZ$ | US$ | EUR€
TWI-FO | Isolating DC to frequency interface | 253 | 178 | 157
TWN-FO | Non-isolating DC to frequency interface | 253 | 178 | 157
Frequency to frequency transmitters |  | NZ$ | US$ | EUR€
TWI-FF | Isolating frequency input, divided, to open collector frequency output interface | 253 | 178 | 157
TWN-FF | Non-isolating frequency input, divided, to open collector frequency output interface | 253 | 178 | 157

## Page 5
Signal / Differential Pressure / Indicators
Signal Transmitters |  | NZ$ | US$ | EUR€
IN-LF | Line filter | 128 | 90 | 80
TW-FFA | Flow pulse amplifier | 245 | 172 | 152
Differential Pressure Transmitters (For Dry Non-Corrosive Gases) |  | NZ$ | US$ | EUR€
LPN-DP-100mm | Programmable spans from ±10 to ±100mm W.G. Factory set to 0~100mm W.G. | 615 | 431 | 382
LPN-DP-1000mm | Programmable spans from ±100 to ±1000mm W.G. Factory set to 0~1000mm W.G. | 615 | 431 | 382
LPN-DP-100kPa | Programmable spans from ±10 to ±100kPa. Factory set to 0~100kPa. | 615 | 431 | 382
4~20mA Panel Display - Surface Mount |  | NZ$ | US$ | EUR€
LPI-LCD-6 | 4~20mA Panel Display IP65 (4~20mA Calibrator is NOT required for setup) | 390 | 273 | 242
Process Indicators - Universal Power Supply 24~250Vac / 19.5~250Vdc |  | NZ$ | US$ | EUR€
IN-uP4 | Universal Input Indicator with no outputs. Universal Power Supply. | 228 | 160 | 142
IN-uP4X | Universal Input Indicator with 2x Relay outputs (250Vac, 3A Max.) plus 1x 4~20mA Analogue output. Universal Power supply. | 318 | 223 | 198
uP4-Din-R2 | Universal Input Indicator, DIN rail mount & 2 Relay Outputs. Universal Power Supply. | 291 | 204 | 181
uP4-Din-R2A | Universal Input Indicator, DIN rail mount & 2 Relay Outputs plus One Analogue Output (4~20mA or 0~10Vdc selectable). Universal Power Supply. | 379 | 266 | 235
XU-USB (Rev 1) | USB Programming Key for programming IN-uP4 / uP4-Din with uP Configure software | 74 | 52 | 46
Indicators for Special Applications - on Request:
IN-P | Multifunction Process Indicator
PRC1- | 1 x 4~20mA / 0~10V input + 24Vdc excitation | 385 | 270 | 239
PRC4- | 4 x 4~20mA input + 24Vdc excitation | 604 | 423 | 375
TC1- | 1 x Thermocouple input. Types B, J, K, N, R, S, T. | 385 | 270 | 239
TC4- | 4 x Thermocouple inputs. Types B, J, K, N, R, S, T. | 604 | 423 | 375
RTD1- | 1 x RTD Pt100 input | 385 | 270 | 239
RTD4- | 4 x RTD Pt100 input | 604 | 423 | 375
R2- | 2 x 5A relay ouputs (for PRC1- model only) | 74 | 52 | 46
R4- | 4 x 5A relay outputs | 103 | 73 | 64
R6- | 6 x 5A relay outputs (for PRC1- model only) | 140 | 98 | 87
A- | 1 x 4~20mA / 0~10V analogue output | 82 | 58 | 51
WS485/ WS232 | 1 x serial port Isolated RS485 or RS232 (specify) | 112 | 79 | 70
WEA/WEM | With an Ethernet port Ascii or Modbus (specify) | 230 | 161 | 143
LV | Low Voltage Power Supply, 15~48Vac / 10~72Vdc | 55 | 39 | 35
Other functions available for IN-P. Please contact Intech.
IN-R | Large Display Tachometer Indicator | 310 | 217 | 193
IN-RT | Flow Rate Indicator with Totaliser | 390 | 273 | 242
IN-RTB | Flow Rate and Batching Controller | 476 | 334 | 296
Common Options:
R2- | 2 x 5A relay outputs | 74 | 52 | 46
R4- | 4 x 5A relay outputs | 103 | 73 | 64
A- | 1 x 4~20mA / 0~10V analogue output | 82 | 58 | 51
WS485/ WS232 | 1 x Serial Port Isolated RS485 or RS232 (specify), Includes Modbus RTU (Not available for IN-R) | 112 | 79 | 70
LV | Low Voltage Power Supply, 15~48Vac / 10~72Vdc | 55 | 39 | 35

## Page 6
pH / Humidity / Signal Generator / Overvoltage / Light Intensity / Instrument Power Supplies
pH Transmitter |  | NZ$ | US$ | EUR€
LPI-pH | pH voltage to DC isolating transmitter with LCD display. See page 15 for pH probes. | 638 | 447 | 396
Humidity transmitter |  | NZ$ | US$ | EUR€
IN-HWD | Humidity and Temperature Indicator / Transmitter - Wet & Dry bulb (IN-HWD (rev 2) replaces both 2100-A4-HWD and the older IN-HWD). | 680 | 476 | 422
Options
R2 | 2 x 5A Relay Outputs | 74 | 52 | 46
R4 | 4 x 5A Relay Outputs | 103 | 73 | 64
WS232/WS485 | Serial Port RS232 or RS485; Includes Modbus RTU. | 112 | 79 | 70
LV | Low Voltage Power Supply; 15~48Vac / 10~72Vdc. | 55 | 39 | 35
Humidity wet and dry tank |  | NZ$ | US$ | EUR€
WDT-DW | Wet & Dry Humidity tank & probe assembly | 440 | 308 | 273
WDT-WICK | Spare wick cloth for wet bulb sensor | 10 | 7 | 7
Humidity transmitters |  | NZ$ | US$ | EUR€
LPN-H-D (Rev 1) | Humidity and temperature transmitter, Sensirion SHT25 Digital sensor, duct mount | 372 | 261 | 231
LPN-H-Flange | Optional 100mm flange for LPN-H-D | 144 | 101 | 90
LPN-H-W (Rev 2) | Humidity and temperature transmitter, Sensirion SHT25 Digital sensor, wall mount | 334 | 234 | 208
LPN-H-CAP | LPN-H Replacement Filter Cap | 18 | 13 | 12
Calibration canisters for LPN-H transmitters
LPN-H-CAL | Non Spill calibration canister with 75% and 33% RH salt solutions complete with adaptor. | 324 | 227 | 201
Hand held signal generator |  | NZ$ | US$ | EUR€
IN-GEN | Signal Generator - use with a multimeter to simulate instrument signals. | 352 | 247 | 219
Overvoltage protection unit |  | NZ$ | US$ | EUR€
LPN-OVP (Rev 1) | Standard DIN rail mount | 102 | 72 | 64
Light intensity transmitter |  | NZ$ | US$ | EUR€
LPN-LUX | Light intensity 4~20mA transmitter (replaces TWN-LUX) | 198 | 139 | 123
Instrument Quality Power Supplies |  | NZ$ | US$ | EUR€
PSW-10-F | 24Vdc Output - 1A Output Current | 49 | 35 | 31
PSW-2 | Adjustable Output 5~30Vdc, High/Mid Input power supply - 200mA Output Current | 126 | 89 | 79
PSW-2-L | Adjustable Output 5~30Vdc, Low Input power supply - 200mA Output Current | 144 | 101 | 90
PSW-10 | Adjustable Output 5~30Vdc - 1A Output Current, Power Supply of 100~264Vac/dc | 201 | 141 | 125

## Page 7
Wireless Z-2400-A2 Series / Multiplexers / Comms Converters / 2300 Series Remote Stations
Wireless Z-2400-A2 Series |  | NZ$ | US$ | EUR€
Z-2400-A2IO | One Wireless Output node and One Input node, Paired & supplied as a Kit: | 860 | 602 | 534
Z-2400-A2I | Input Remote Wireless node. 2x Isolated Universal Inputs, 4x Digital I/O. Note: The Z-2400-A2I can also be used with the Z-2400 Series as part of a MicroScan SCADA Wireless system. See page 11. | Z-2400-A2IO Kit Only
Z-2400-A2O | Output Remote Wireless node. 2x 4~20mA Outputs, 4x Digital I/O. | Z-2400-A2IO Kit Only
Z-2400-A2R | Repeater node for Wireless Expansion. | 420 | 294 | 261
XU-USB (Rev 1) | USB Programming Key for programming Z-2400-A2 Series with uP Configure software | 74 | 52 | 46
Z-2400-A2 High Gain Antenna options ZA (instead of standard whip type). |  | See Page 11 for options and pricing
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the Z-2400-A2 Series | 49 | 35 | 31
Notes: | All Z-2400 Wireless modules require a 9~36Vdc power supply.
2.4GHz modules certified for use in USA, Canada, Europe, Australia and New Zealand.
Multiplexers | Power supply 85~264Vac/dc or 23~90Vdc (field selectable) | NZ$ | US$ | EUR€
2100-M-R | RTD Pt100 inputs | 752 | 527 | 467
2100-M-I | mA inputs | 752 | 527 | 467
Converters Serial and Ethernet |  | NZ$ | US$ | EUR€
2400-IS | Isolated Auto-Detecting USB/RS232 to RS485/422/232 Converter | 383 | 269 | 238
2100-IS-USB | Isolating USB to RS485 or RS422 (selectable) Converter. Relay output for comms failure. | 464 | 325 | 288
2100-NET | Ethernet TCP/IP to RS232/422/485 converter | 755 | 529 | 469
The 2100-NET is used with the 2400/2100 series I/O Remote Stations and Shimaden Controllers when connecting via Ethernet TCP/IP.
The 2400-A16-NET and 2100-A16-NET connect directly via Ethernet TCP/IP.
2300-NET | Ethernet TCP/IP to RS485 converter, Modbus TCP to Modbus RTU, 24Vdc | 450 | 315 | 279
The 2300-NET is used with the 2300 series I/O Remote Stations when connecting via Ethernet TCP/IP.
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2300-NET | 49 | 35 | 31
2300 Stand-alone Analog & Digital input/output stations - Low cost - Connects to MicroScan V5 software
Modbus RTU with Modbus TCP option. Power Supply: 24Vdc |  | NZ$ | US$ | EUR€
Important: The 2300-XX stations cannot share a data hi-way with the 2400-XX / 2100-XX stations and/or Shimaden Controllers.
2300-A8II | 8x 4~20mA (0~20mA) inputs, 1.0KV isolation between each input | 562 | 394 | 349
2300-A8VI | 8x 0~10Vdc (2~10Vdc) inputs, 1.0KV isolation between each input | 562 | 394 | 349
2300-Tc8 | 8x Thermocouple & mV inputs, 350V peak isolation between each input | 562 | 394 | 349
2300-RTD6 | 6x RTD inputs, Pt100, Pt1000, Ni120, Ni1000 | 462 | 324 | 287
2300-MULTI | Combination inputs and outputs, single ended | 562 | 394 | 349
2x RTD inputs, 2x 4~20mA inputs OR 2x 0~10Vdc inputs, 1x 4~20mA output, 4x Digital inputs, 2x Digital outputs
2300-D16 | 16x Digital inputs | 338 | 237 | 210
2300-RO4 | 4x Relay outputs, Change over contacts, One output can be dedicated to Comms Fail Alarm | 308 | 216 | 191
2300-AO8I | 8x 4~20mA (0~20mA) outputs, single ended | 462 | 324 | 287
24Vdc Power Supply:
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2300 Series | 49 | 35 | 31

## Page 8
Multiplexers / 2400/2100 Series Remote Stations / eze System
2400-A16 Isolated Universal Analogue and digital input/output Multiplexer / SCADA station |  | NZ$ | US$ | EUR€
Remote station. Up to 16, Isolated Universal Analogue inputs. Dedicated Digital input and relay outputs. 85~265Vac, 95~370Vdc Power supply.
2400-A16-I16 | 16 Isolated Universal Input Channels | 1547 | 1083 | 960
2400-A16-I8 | 8 Isolated Universal Input Channels | 1100 | 770 | 682
2400-A16-I16-NET-H | 16 Isolated Universal Input Channels, with Ethernet TCP/IP option connection fitted. | 1810 | 1267 | 1123
Options
-M | Power supply of 24~48Vac, 17~72Vdc fitted | 70 | 49 | 44
-L | Power supply of 10~28Vdc fitted | 70 | 49 | 44
2400-RS232 | Optional 5m RS232 Cable for the 2400-A16 (Comms Port 2). | 84 | 59 | 53
XU-USB (Rev 1) | USB Programming key for programming 2400-A16 with Intech Micro Station Programmer software (software also for data logging with the 2400-A16-SD-NET) | 74 | 52 | 46
2400-R2 Relay expansion unit for 2400-A16 |  | NZ$ | US$ | EUR€
2400-R2 | Relay output expansion unit for 2400-A16. Power supply 24Vdc, 10VA. | 640 | 448 | 397
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2400-R2 | 49 | 35 | 31
2100-A16 Analogue input Intelligent Multiplexer / SCADA station |  | NZ$ | US$ | EUR€
2100-A16 | Analogue input remote station. 16 analogue channels. Modbus RTU standard. Power supply 85~264Vac/dc or 23~90Vdc (field selectable) | 1270 | 889 | 788
2100-A16-NET | Analogue input remote station. 16 analogue channels. Modbus RTU standard. Ethernet TCP/IP option connection fitted. Power supply 85~264Vac/dc or 23~90Vdc. | 1688 | 1182 | 1047
Note 1 | Input expansion: This is a standard feature. Supports up to four 2100-M multiplexers. The two analogue outputs are not available with this option.
Note 2 | Output expansion: Supports up to two 2100-R2 relay output modules. This unit allows the station to 'stand alone' as a 16 channel controller for a combination of control and alarm functions.
2100-R2 Relay expansion unit for 2100-A16 Power supply 85~264Vac/dc or 23~90Vdc (field selectable) |  | NZ$ | US$ | EUR€
2100-R2 | Relay output expansion unit (replaces 2100-R, can use 2x 2100-R2 with 2100-A16 rev 1.3) | 630 | 441 | 391
2100-D Digital input/output SCADA station Power supply 85~264Vac/dc or 23~90Vdc (field selectable) |  | NZ$ | US$ | EUR€
2100-D | Digital input/output remote station | 960 | 672 | 596
eze System Cloud Based Monitoring (Comes with a limited, free service period). |  | NZ$ | US$ | EUR€
ezeio-STD | ezeio Controller. Communications Ethernet TCP/IP | 1157 | 810 | 718
ezeio-GSM | ezeio Controller. Communications Ethernet TCP/IP, 3G/GSM mobile/cellular network. *Does not include SIM card or ongoing provider charges. | 1606 | 1125 | 996
eze Cable-485 | eze Cable RS485 (1m), if using ezeio with a Intech Micro Remote Station. | 15 | 11 | 10
Contact Intech for Service Options available.

## Page 9
Mini pack options - Complete Chart Recorder replacement packages
Mini pack 8 - Up to 8 channels of recording |  | NZ$ | US$ | EUR€
Software | • MicroScan R8 recorder Software Package, with USB dongle
Includes Converter | • Isolated Auto-Detecting Comms Converter USB/RS232 to RS485 [2400-IS] (1 only)
and Hardware | • Intech Micro 2300 Remote Station (1 only) See below:
• PSW-10-F Power Supply 24Vdc, 1.0A (1 only)
Option 1 | If using 2300-RTD6 (6x RTD Inputs) | 1983 | 1390 | 1230
Option 2 | Using any other 2300 I/O remote station (see page 7 for available stations) | 2082 | 1460 | 1291
Alarms | 1x 2300-RO4 - Comms fail alarm and/or Alarm outputs Add | 290 | 203 | 180
Ethernet | 1x 2300-NET - Connect via Ethernet TCP/IP (no 2400-IS) Add | 100 | 70 | 62
Mini pack 16 - Up to 16 channels of recording |  | NZ$ | US$ | EUR€
Software | • MicroScan R16 recorder Software Package, with USB dongle | 3020 | 2120 | 1873
Includes Converter | • Isolated Auto-Detecting Comms Converter USB/RS232 to RS485/RS422 [2400-IS] (1 only)
and Hardware | • Intech Micro 2400-A16-I16 [16 Isolated Universal Analogue Input Channels] (1 only)
Ethernet | 1x 2400-A16-I16-NET - Connect via Ethernet TCP/IP (no 2400-IS) Less | -130 | -100 | -81
Mini pack 32 - Up to 32 channels of recording |  | NZ$ | US$ | EUR€
Software | • MicroScan R32 recorder Software Package, with USB dongle | 4706 | 3300 | 2918
Includes Converter | • Isolated Auto-Detecting Comms Converter USB/RS232 to RS485/RS422 [2400-IS] (1 only)
and Hardware | • Intech Micro 2400-A16-I16 [16 Isolated Universal Analogue Input Channels] (2 only)
Ethernet | 2x 2400-A16-I16-NET - Connect via Ethernet TCP/IP (no 2400-IS) Add | 120 | 90 | 75
Submersible Level Transmitters
IN-LLT Series (Rev 1) - Submersible Level Transmitters for Water applications |  | NZ$ | US$ | EUR€
IN-LLT-C-1 | 0~1m H2O, with 10 metres of cable. 4~20mA output. | 710 | 497 | 441
IN-LLT-C-5 | 0~5m H2O, with 10 metres of cable. 4~20mA output. | 710 | 497 | 441
IN-LLT-C17-10 | 0~10m H2O, with 15 metres of cable. 4~20mA output. | 733 | 514 | 455
IN-LLT-C17-20 | 0~20m H2O, with 30 metres of cable. 4~20mA output. | 802 | 562 | 498
IN-LLT-C17-50 | 0~50m H2O, with 60 metres of cable. 4~20mA output. | 918 | 643 | 570
IN-LLT-C17-100 | 0~100m H2O, with 110 metres of cable. 4~20mA output. | 1149 | 805 | 713
IN-LLT-V-5 | 0~5m H2O, with 10 metres of cable. 0~5Vdc output. | 710 | 497 | 441
LPN-OVP (Rev 1) | Overload protection unit for lightning | 120 | 84 | 75
NAA-101 | Terminal box with filter without OVP | 80 | 56 | 50
NAA-102 | Terminal box with filter and integral OVP | 315 | 221 | 196
NAA-209 | Overload protection unit for lightning | 34 | 24 | 22

## Page 10
Data logging and SCADA Software Packages - Comes complete with USB dongle |  | NZ$ | US$ | EUR€
MicroScan v5 software Recorder Packages
R8 | MicroScan recorder, 8 inputs, 8 outputs | 1260 | 882 | 782
R16 | MicroScan recorder, 16 inputs, 16 outputs | 1412 | 989 | 876
R32 | MicroScan recorder, 32 inputs, 32 outputs | 1576 | 1104 | 978
R50 | MicroScan recorder, 50 inputs, 160 outputs | 1654 | 1158 | 1026
R100 | MicroScan recorder, 100 inputs, 160 outputs | 2117 | 1482 | 1313
R200 | MicroScan recorder, 200 inputs, 160 outputs | 2867 | 2007 | 1778
R300 | MicroScan recorder, 300 inputs, 160 outputs | 3352 | 2347 | 2079
R400 | MicroScan recorder, 400 inputs, 160 outputs | 3819 | 2674 | 2368
R600 | MicroScan recorder, 600 inputs, 160 outputs | 4684 | 3279 | 2905
R800 | MicroScan recorder, 800 inputs, 160 outputs | 5503 | 3853 | 3412
R1000 | MicroScan recorder, 1000 inputs, 160 outputs | 6219 | 4354 | 3856
Maximum Recorder Lines = 1000 made up of 100 pages with 10 lines on each page
MicroScan v5 software Tag Packages including Recorder, Mimics, Shimaden, DDE
T50 | MicroScan software package, 50 tags | 2018 | 1413 | 1252
T75 | MicroScan software package, 75 tags | 2370 | 1659 | 1470
T150 | MicroScan software package, 150 tags | 3440 | 2408 | 2133
T300 | MicroScan software package, 300 tags | 4499 | 3150 | 2790
T500 | MicroScan software package, 500 tags | 5540 | 3878 | 3435
T750 | MicroScan software package, 750 tags | 6608 | 4626 | 4097
T5000 | MicroScan software package, 5000 tags | 7644 | 5351 | 4740
Maximum Tags = 5000 (max I/O = 5000)
SYM | Symbol Factory Library for Mimics images | POA | POA | POA
Optional software modules |  | NZ$ | US$ | EUR€
TB+ | MicroScan Tool Box | 1840 | 1288 | 1141
PLC | PLC Interface - specify PLC make and model | 550 | 385 | 341
Network Drivers
P1 | Active PC will support 1 Passive PC | 760 | 532 | 472
P2 | Active PC will support 2 Passive PC's | 1210 | 847 | 751
P3 | Active PC will support 3 Passive PC's | 1660 | 1162 | 1030
P4 | Active PC will support 4 Passive PC's | 2100 | 1470 | 1302
P5 | Active PC will support 5 Passive PC | 2540 | 1778 | 1575
P6+ | Active PC will support 6 or more passive nodes | 2780 | 1946 | 1724
Upgrade options - Dongle / Software Key / Version / Package + Modules |  | NZ$ | US$ | EUR€
Version Upgrade | V4 to V5 = 35% of the equivalent V5 list price including all modules plus Dongle or License Key Upgrade | 35% | 35% | 35%
Package + Modules Upgrade | Upgrading to a larger package + modules combination. Price is the dollar difference between packages + modules plus and plus Dongle or License Key Upgrade | 230 | 161 | 143
Dongle Upgrade | If you require a USB (Super Pro) dongle (see Notes below) | 396 | 278 | 246
License Key Upgrade | If you already have a USB or Parallel (Super Pro) dongle. Replacement for lost file. | 181 | 127 | 113
Note 1: | Dongle options: USB (standard) or Parallel (on special request) - Dongle includes the License Key. Old Sentinel C dongles are now redundant and must be returned to Intech
Note 2: | USB dongles have the advantage of being able to move computer if required without incurring an additional charge. Important Note: Software locking is no longer available!

## Page 11
MA5 / Shimaden Lite Software
MicroScan MA5 mobile alarm software - for use with MicroScan V5 and Microsoft .NET 2.0 |  | NZ$ | US$ | EUR€
MA5 | For MicroScan V5 software packages. Customer to supply Modem Kit, see Intech for advice’ | POA | POA | POA
Customer to supply Modem Kit, see Intech for advice.
MA5-Lite | For MicroScan V5 R8, R16 & R32 software packages only. Includes all features of MA5 | POA | POA | POA
Shimaden Lite software |  | NZ$ | US$ | EUR€
Shimaden-Lite | Shimaden Lite software package (Note: Shimaden Lite should only be used with Windows 7 or above and is not a replacement for a full SCADA system) | N/C | N/C | N/C
Z-2400 Series (Wireless MicroScan and Data Logging Communication)
ZigBee® Modules. Power Supply: 9~36Vdc. |  | NZ$ | US$ | EUR€
Z-2400-RB-T | ZigBee® Base or Router (RS485, RS422, RS232). 100mW | 415 | 291 | 258
Z-2400-TCP-T | ZigBee® Ethernet - MicroScan or Modbus Base Only. 100mW | 643 | 451 | 399
Z-2400-A2I | ZigBee® Input - 2x Universal inputs, 4x Digital inputs, 2x Digital outputs, 2x Relay outputs. 100mW | 430 | 301 | 267
Z-2400-Sleeper | ZigBee® Sleeper Plug Powered & Battery Powered + 2 Universal Inputs. 1mW | 506 | 355 | 314
Z-2400-BAT | Replacement Z-2400-Sleeper battery | 69 | 49 | 43
XU-USB (Rev 1) | USB Programming Key for programming Z-2400-A2I and Z-2400-Sleeper with XU Software | 74 | 52 | 46
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the Z-2400 Series | 49 | 35 | 31
Notes: | All Z-2400 Wireless modules require a 9~36Vdc power supply.
2.4GHz modules certified for use in USA, Canada, Europe, Australia and New Zealand.
2.4GHz Indoor /Outdoor High Gain Antennas |  | NZ$ | US$ | EUR€
2.4Ghz Indoor Antennas for Z-2400 Series.
ZA-OD24-5 | 2.4Ghz Indoor Antenna for Z-2400 Series. Indoor 5.5dBi Omni Directional Rubber Duck Antenna. | 41 | 29 | 26
ZB-P-45 | Extension Coax for Z-2400 Series Indoor Antenna. RP-SMA Type with Bulkhead 0.2m. | 32 | 23 | 20
2.4Ghz Outdoor Antennas for Z-2400 Series.(Outdoor antennas are supplied with mounting brackets and coax-seal) |  |  | 0 | 0
ZA-OD24-2 | Outdoor 2.2dBi Omni Directional Whip Antenna c/w 0.5m coax cable. | 118 | 83 | 74
ZA-OD24-8 | Outdoor 8dBi Omni Directional Monopole Antenna c/w 3m coax cable. | 259 | 182 | 161
ZA-PG24-19 | Outdoor 19dBi Directional Parabolic Grid Antenna c/w 3m coax cable. | 221 | 155 | 138
Communication Modules for RS485/422 |  | NZ$ each | US$ each | EUR€ each
Digi485 | Digi Radio Modem for RS485/422 | 490 | 343 | 304

## Page 12
Data Loggers
HR Series Data Loggers - rugged 304 stainless steel case |  | NZ$ | US$ | EUR€
T-HR | Single temperature. IP68 rating | 357 | 250 | 222
HT-HR | Humidity and temperature | 482 | 338 | 299
Tc-HR | Dual temperature. Type J, K, N, R, T (Does not include thermocouple probe) | 464 | 325 | 288
HHT-03 | Type K thermocouple temperature probe for Tc-HR | 43 | 31 | 27
Tc-HR Plug Set | 70mm lead c/w plugs (Specify thermocouple type). Includes Switchcraft plug (logger end) and Mini jack (connects to T/c Mini plug). Mini plugs are also available on request. | 48 | 34 | 30
Pt-HR | Dual temperature. RTD Pt100/Pt500/Pt1000 (Does not include RTD probe) | 418 | 293 | 260
TP-Pt100 | RTD Pt100 temperature probe for Pt-HR, range -100~150°C | 108 | 76 | 67
mV-HR | milli-Volt ±50mV / ±100mV / ±200mV / ±400mV dc range (does not include test lead) | 414 | 290 | 257
mV-HR Lead | Test lead set | 95 | 67 | 59
WT-HR | Water level, air temperature, and water temperature
Water level, | 0~0.25m WT-HR-250 | 594 | 416 | 369
5 ranges | 0~0.5m WT-HR-500 | 612 | 429 | 380
| 0~1.0m WT-HR-1000 | 675 | 473 | 419
| 0~1.5m WT-HR-1500 | 729 | 511 | 452
| 0~2.0m WT-HR-2000 | 774 | 542 | 480
| Option for 316 S/S for salt water | 123 | 87 | 77
pH-HR | pH and temperature (Does not include pH probe - see Page 15 for probes) | 422 | 296 | 262
pH-HR Plug Set | Fit plug set to pH sensor for use with pH-HR logger. We recommend using a pH sensor fitted with a RTD Pt100 sensor for the best possible accuracy. | 48 | 34 | 30
GP-HR | 4 input general purpose logger (Also requires the Add on probe sets below) | 443 | 311 | 275
Add on probe sets for GP-HR | Standard probe sets are listed. Other combinations available - Contact Intech.
mA1-PS | One 4~20mA or 0~20mA input | 55 | 39 | 35
mA3+P-PS | Three 4~20mA or 0~20mA inputs c/w one pulse input | 77 | 54 | 48
##VD3-PS | Three DC voltage inputs. ## = Specify voltage up to 32Vdc | 75 | 53 | 47
L-PS | Light energy cable | 70 | 49 | 44
Pt3-PS | Three RTD Pt1000 temperature probes, range -50~130°C (Logger maximum RTD Pt1000 range is -100~400°C) | 220 | 154 | 137
P100-HR-PS | Pressure sensor. Range = -15~100psi (Overload 200psi, Burst 500psi). | 520 | 364 | 323
P300-HR-PS | Pressure sensor. Range = -15~300psi (Overload 600psi, Burst 1500psi). | 520 | 364 | 323
R-PS | One Slow Pulse for Rain Gauge input | 60 | 42 | 38
Flow-mA2-PS | Coil or open collector plus two 4~20mA inputs | 105 | 74 | 66
ACM-mA2-PS | Flow metering off the pump run contact plus two 4~20mA inputs | 98 | 69 | 61
Replacement Battery Kits - Mark4
DLC Tester Mk4 | Contains One Mark4 battery. Comes complete with stainless tube, 2 Orings & new label. | 125 | 88 | 78
DLC Tester Mk4 Kit | Contains Three Mark4 batteries. Comes complete with stainless tube, 2 Orings & new label. | 200 | 140 | 124
HR-Battery Mk4 | Spare Mark4 battery ONLY available at the time of purchase of an HR Data logger. | 60 | 42 | 38
HR-Battery Mk3 | Mark3 loggers must be returned to Intech for factory replacement of batteries.
DLC3USB | Spare HR Series download cable (USB) | 115 | 81 | 72
Omni7 | Omni7 software in USB/CD (Free to download from our website) | 25 | 18 | 16

## Page 13
Data Loggers continued
Data Loggers (continued) |  | NZ$ | US$ | EUR€
GP-MC | 10 channel universal input logger (Also requires the Add on probe sets below) | 650 | 455 | 403
Seahorse | Option: IP66 Weatherproof enclosure | 300 | 210 | 186
Add on probe sets for GP-MC | GP-MC Inputs are individually configurable using OmniLog. Each input requires conditioning using a 'Probe Set'. Probe set prices are per input as follows: Contact Intech for other available options.
mA-MC-PS | One 4~20mA or 0~20mA input | 45 | 32 | 28
##VD-MC-PS | One Voltage input - available ranges are: 5VD-MC-PS = 0~5Vdc, 10VD-MC-PS = 0~10Vdc, 24VD-MC-PS = 0~24Vdc, 32VD-MC-PS = 0~32Vdc. Maximum voltage input for the GP-MC is 32Vdc - for voltages above 32Vdc use an intermediary transmitter like the PI-D | 53 | 38 | 33
P100-MC-PS | Pressure sensor. Range = -15~100psi (Overload 200psi, Burst 500psi). | 490 | 343 | 304
P300-MC-PS | Pressure sensor. Range = -15~300psi (Overload 600psi, Burst 1500psi). | 490 | 343 | 304
Pt1000-MC-PS | RTD Pt1000 Temperature Probe, range -50~130°C Logger maximum RTD Pt1000 temperature range is -100~400°C | 98 | 69 | 61
Flow-MC-PS | Coil or open collector | 105 | 74 | 66
ACM-MC-PS | Flow metering off the pump run contact | 98 | 69 | 61
DLC5USB | Spare GP-MC download cable (USB) | 115 | 81 | 72
Omni7 | Omni7 software in USB/CD (Free to download from our website) | 25 | 18 | 16
LCD Series | LCD display means realtime readings can be viewed without connecting the logger to a computer.
HT-LCD | Humidity and Temperature (Internal) ±3.0%RH accuracy from 20%RH to 80%RH | 425 | 298 | 264
THT-LCD | Humidity and Temperature (External) (complete with standard HT11-Probe) | 585 | 410 | 363
HT11-Probe | Digital humidity sensor with ±3.0%RH accuracy from 20%RH to 80%RH | 240 | 168 | 149
Tc-LCD | Dual temperature. Accepts Thermocouple Types J, K, N, R, T (Does not include probe) | 410 | 287 | 255
HHT-03 | Type K temperature probe for Tc-LCD | 43 | 31 | 27
Pt-LCD | External RTD temperature sensor, range -200~600°C (Does not include probe) Accepts RTD Pt100, Pt500 and Pt1000 type probes. | 410 | 287 | 255
TP-Pt100-LCD | RTD Pt100 temperature probe for Pt-LCD, range -100~150°C | 138 | 97 | 86
P-LCD | Pressure (Does not include sensor) Sensor (1/8 inch NPT) options below: | 410 | 287 | 255
P100-LCD-PS | Range -15~100psi (Overload 200psi, Burst 500psi) with 500mm cable | 350 | 245 | 217
P300-LCD-PS | Range -15~300psi (Overload 600psi, Burst 1500psi) with 500mm cable | 350 | 245 | 217
Seahorse | Option: IP66 Weatherproof enclosure for LCD Series data loggers | 300 | 210 | 186
DLC8USB | Spare LCD Series download cable (USB) | 115 | 81 | 72
Omni7 | Omni7 software in USB/CD (Free to download from our website) | 25 | 18 | 16

## Page 14
Environmental Monitoring Systems
SMALL Environmental Monitoring Systems |  | NZ$ | US$ | EUR€
GP-HR-LB | GP-HR data logger in L-Bar with attachment plate and two 50mm U bolts. | 590 | 413 | 366
add any three of the following | add Ground temperature | 110 | 77 | 69
| add Air temperature and Humidity in Shield (Note: counts as two channels) | 505 | 354 | 314
| add Leaf wetness | 298 | 209 | 185
| add Solar Radiation | 210 | 147 | 131
| add Wind direction | 580 | 406 | 360
| add 4~20mA input | 72 | 51 | 45
| add Voltage input | 72 | 51 | 45
add any one of the following | add Windspeed | 540 | 378 | 335
| add Rain Gauge input | 72 | 51 | 45
| add 1mm Rain Gauge | 270 | 189 | 168
| add 0.2mm Rain Gauge | 398 | 279 | 247
T-Bar | If you require Windspeed and Direction, use a T-Bar rather than an L-Bar | 48 | 34 | 30
add download cable | Omni7 / OmniLog software and DLC3USB download cable Kit (USB) | 140 | 98 | 87
MEDIUM Environmental Monitoring Systems |  | NZ$ | US$ | EUR€
GP-MC | 10 channel universal input logger | 650 | 455 | 403
| Option: IP66 Weatherproof enclosure | 300 | 210 | 186
| Option: add External socket on Logger enclosure | 72 | 51 | 45
add any eight of the following | add Ground temperature | 110 | 77 | 69
| add Air temperature and Humidity in Shield (Note: counts as two channels) | 505 | 354 | 314
| add Leaf wetness | 298 | 209 | 185
| add Solar Radiation | 210 | 147 | 131
| add Wind direction | 580 | 406 | 360
| add 4~20mA input | 72 | 51 | 45
| add Voltage input | 72 | 51 | 45
add any two of the following | add Windspeed | 540 | 378 | 335
| add Rain Gauge input | 72 | 51 | 45
| add 1mm Rain Gauge | 270 | 189 | 168
| add 0.2mm Rain Gauge | 398 | 279 | 247
add any five of the following | add Air temperature, Humidity and Pressure in Shield | 750 | 525 | 465
| add Air temperature and Humidity in Shield | 610 | 427 | 379
Mounting | add L-Bar with attachment plate and two 50mm U bolts and attach sensors. | 179 | 126 | 111
| add T-Bar with attachment plate and two 50mm U bolts and attach sensors. | 221 | 155 | 138
add download cable | Omni7 / OmniLog software and DLC5USB download cable Kit (USB) | 140 | 98 | 87
Temperature Probes
Wall Mount RTD Probes |  | NZ$ | US$ | EUR€
WMR-CB | Wall mount pvc conduit box probe. 6.4 x 100mm IP44 (-20~80°C). | 90 | 63 | 54
Gland | Optional cable gland | 10 | 7 | 6
WMR-AL | Wall mount alloy head probe. 6.4 x 100mm IP67 (-40~110°C). | 142 | 98 | 84
Other Temperature Sensors available on request.

## Page 15
Weather Sensor Transmitters - 4~20mA Outputs / pH Sensors
Weather Sensor Transmitters - 4~20mA Outputs (Individual) |  | NZ$ | US$ | EUR€
H-CL | Humidity sensor c/w 1.5m cable (0~100%) | 260 | 182 | 162
T-CL | Temperature sensor c/w 1.5m cable (-30~70°C) | 221 | 155 | 138
BP-CL | Barometric Pressure sensor c/w 1.5m cable (700~1100hPa) | 260 | 182 | 162
LE-CL | Light energy sensor c/w base plate and 5m cable (0~1500 w/m²) | 479 | 336 | 297
WS3-CL | Wind speed (3 cup) c/w 5m cable (1.5m/sec start, 20mA = 60m/sec) | 745 | 522 | 462
WS6-CL | Wind speed (6 cup) c/w 5m cable (0.45m/sec start, 20mA = 80m/sec) | 1053 | 738 | 653
WD-CL | Wind direction c/w 5m cable (0°~360°) | 745 | 522 | 462
RAIN | 0.2mm Rain Gauge, Pulse output, Pole mount. | 359 | 252 | 223
RAIN-CL | 0.2mm Rain Gauge (4~20mA output via included PI-F transmitter, 0~55mm/hr) | 1014 | 710 | 629
Mounting Options
LB | L-Bar with attachment plate and two 50mm U bolts | 125 | 88 | 78
TB | T-Bar with attachment plate and two 50mm U bolts | 170 | 119 | 106
Shield | Solar Radiation Shield - used for more accurate measurement of temperature, humidity and barometric pressure sensors. (Does not include sensors) Must be attached to L-Bar or T-Bar. | 295 | 207 | 183
Weather Sensor Transmitters - 4~20mA Outputs (Fully Mounted on T-Bar mounting arm) |  | NZ$ | US$ | EUR€
WS3-WD-TB-CL | Wind speed 3 cup, wind direction, mounted on T-Bar c/w 5m cable | 1752 | 1227 | 1087
WS3-WD-THP-TB-CL | Wind speed 3 cup, wind direction, Temperature, Humidity and Barometric Pressure Sensors, all housed in solar Radiation Shield mounted on T-Bar mounting arm c/w 5m cable. | 2974 | 2082 | 1844
THP-LB-CL | Temperature, Humidity and Barometric Pressure Sensors, all housed in solar Radiation Shield mounted in L-Bar mounting arm c/w 5m cable. | 1347 | 943 | 836
Options
WS6 | Fit WS6 (Wind speed 6 cup), instead of WS3 (used for lower starting speeds) | 306 | 215 | 190
LE-CL | Light Energy Sensor | 479 | 336 | 297
pH & ORP Sensors - Wedgewood Analytical |  | NZ$ | US$ | EUR€
M-10 | General purpose ½” NPT pH sensor | 337 | 236 | 209
M-10-ORP | General purpose ½” NPT ORP sensor | 392 | 275 | 244
M-11 | General purpose ¾” NPT pH sensor | 454 | 318 | 282
M-11-Pt100 | General purpose ¾” NPT pH sensor. Includes a RTD Pt100 sensor | 567 | 397 | 352
M-11-Pt100-HT | General purpose ¾” NPT pH sensor. High temp. version including a RTD Pt100 sensor | 648 | 454 | 402
M-12 | General purpose ¾” NPT pH sensor | 454 | 318 | 282
M-12-Pt100 | General purpose ¾” NPT pH sensor. Includes a RTD Pt100 sensor | 567 | 397 | 352
M-12-Pt100-HT | General purpose ¾” NPT pH sensor. High temp. version including a RTD Pt100 sensor | 648 | 454 | 402
M-21 | General purpose ¾” NPT pH sensor with long insertion length | 490 | 343 | 304
M-21-Pt100 | General purpose ¾” NPT pH sensor with long insertion length. Includes a RTD Pt100 sensor | 598 | 419 | 371
M-21-Pt100-HT | General purpose ¾” NPT pH sensor with long insertion length. High temp. version including a RTD Pt100 sensor | 706 | 495 | 438