## Contents
|  | NZ$ > US$ | 0.58
|  | NZ$ > EUR | 0.525
|  | NZ$ > GBP | 0.47
International Price Discount Schedule
Page | Description
3 | Discount table / XU Universal input transmitter series
4 | Loop powered / Plug-in / Frequency Transmitters
5 | Signal / Differential Pressure / Indicators
6 | pH / Humidity / Signal Generator / Overvoltage / Light Intensity / Instrument Power Supplies
7 | Wireless Z-2400-A2 Series / Multiplexers / Comms Converters / 2300 Series Remote Stations
8 | Multiplexers / 2400/2100 Series Remote Stations / eze System
9 | Mini packs - Complete Chart Recorder replacement packages / Submersible Level Transmitters
10 | Data logging and SCADA Software Packages
11 | MA5 / Shimaden Lite Software / Z-2400 Series (Wireless MicroScan and Data Logging Communication)
12 | Data loggers
13 | Data loggers (continued)
14 | Environmental Monitoring Systems
15 | Weather Sensor Transmitters - 4~20mA Outputs / pH sensors
Note: | Page numbers shown on tabs are designed to match the PDF version of this pricelist

## Page 3
Intech Instruments Ltd Export Price List - 2025
International Price Discount Schedule
(per purchase order)
| NZ$ | US$ / EUR | Discount
| 0~1,000 | 0~1,000 | 10%
| 1,001~6,000 | 1,001~4,500 | 15%
| 6,001~10,000 | 4,501~8,500 | 20%
| 10,001 up | 8,501 up | 25%
Notes:
On any one purchase order, take the total list price of all items you will be ordering.
Match this total price against the above list, and deduct the appropriate discount.
Please ensure you use the correct currency from the table above.
All prices are FOB Christchurch, New Zealand
All bank charges to your account
Model | Description | Price Per Unit (NZ$) | Price Per Unit (US$) | Price Per Unit (EUR)
XU Universal Input Transmitter Series - Processor, USB Programmable |  | NZ$ | US$ | EUR€
XU2 | Loop Powered Transmitter Isolated Universal Input | 212 | 123 | 112
XU2HI | Head Mount Loop Powered Transmitter Isolated RTD & Thermocouple | 199 | 116 | 105
XU2HN | Head Mount Loop Powered Transmitter Non Isolated RTD only | 105 | 61 | 56
XU-Spring-Kit | For vibration areas or where wide ambient temperatures exist on the probe head. | 10 | 6 | 6
XU4 | 4 wire (powered) Transmitter Isolated Universal Input | 289 | 168 | 152
XU-USB (Rev 2) | USB Programming Key for programming XU Transmitters with XU Software | 103 | 60 | 55
XJ2 | Single Loop Powered Transmitter - Universal Input, Analogue | 290 | 169 | 153
XJ22 | Dual Loop Powered Transmitter - Universal Input, Analogue | 486 | 282 | 256
XJ4 | Single 4 wire (powered) Transmitter - Universal Input, Analogue | 415 | 241 | 218
XJ4-LV | Single 4 wire (powered) Transmitter - Universal Input, Analogue, Low voltage | 502 | 292 | 264
XID-L1 | Single 4~20 to 4~20mA Loop powered isolator, Input Resistance 250Ω | 280 | 163 | 147
XID-L2 | Dual 4~20 to 4~20mA Loop powered isolators, Input Resistance 250Ω | 470 | 273 | 247
XID-L4 | Quad 4~20 to 4~20mA Loop powered isolators, Input Resistance 250Ω | 680 | 395 | 357
XID-P1 | Single 4~20 to 4~20mA 24Vdc powered isolator | 300 | 174 | 158
XI-L1 | Single 4~20 to 4~20mA Loop powered isolator, Input Resistance 50Ω | 292 | 170 | 154
XI-L2 | Dual 4~20 to 4~20mA Loop powered isolators, Input Resistance 50Ω | 550 | 319 | 289
XI-L4 | Quad 4~20 to 4~20mA Loop powered isolators, Input Resistance 50Ω | 795 | 462 | 418
XI-P1 | Single 4~20 to 4~20mA Input powered isolator | 358 | 208 | 188
XI-P2 | Dual 4~20 to 4~20mA Input powered isolators | 624 | 362 | 328
XI-P4 | Quad 4~20 to 4~20mA Input powered isolators | 911 | 529 | 479
Discount
10%
15%
25%
20%
X1A0T

## Page 4
Loop powered / Plug-in / Frequency Transmitters
Loop powered transmitters - Analogue |  | NZ$ | US$ | EUR€
LPI-D-F | DC to DC isolating signal transmitter (Not frequency input - see LPI-F-D below) | 297 | 173 | 156
LPI-D-P | DC to DC isolating signal transmitter | 362 | 210 | 191
LPI-B | Bridge to DC isolating signal transmitter | 377 | 219 | 198
LPI-P | Potentiometer to DC isolating transmitter | 406 | 236 | 214
LPI-R-F | RTD to DC isolating transmitter | 298 | 173 | 157
LPI-R-P | RTD to DC isolating transmitter | 365 | 212 | 192
LPN-R-H | RTD Pt100 to 4~20mA In-head transmitter | 150 | 87 | 79
LPN-R-H-D | DIN Rail Mount Foot option for LPN-R-H | 20 | 12 | 11
LPI-T-F | Thermocouple to DC isolating transmitter | 370 | 215 | 195
LPN-R-X1 | Single RTD to DC non isolating transmitter | 182 | 106 | 96
LPI-CT-X1 | Single LPI-CT CT transmitter | 318 | 185 | 167
LPI-CT-X2 | Dual LPI-CT CT transmitters | 440 | 256 | 231
INCCT Series - Split Core Current Transmitters & Switch |  | NZ$ | US$ | EUR€
INCCT-521-SP | Current transmitter. Selectable ranges: 10A, 20A, 50A. Output 4~20mA. | 195 | 114 | 103
INCCT-2151-SP | Current transmitter. Selectable ranges: 100A, 150A, 200A. Output 4~20mA. | 195 | 114 | 103
INCCT-521-RMS | Current transmitter. Selectable ranges: 10A, 20A, 50A. True RMS. Output 4~20mA. | 220 | 128 | 116
INCCT-2151-RMS | Current transmitter. Selectable ranges: 100A, 150A, 200A. True RMS. Output 4~20mA. | 220 | 128 | 116
INCCS-04K-SW | Current switch. Adjustable: 1.5~200A in 3x ranges, self-powered. | 158 | 92 | 83
Plug-in transmitters | Analogue - Power supply: 85~264Vac/dc or 22~85Vac/dc selectable | NZ$ | US$ | EUR€
PI-D | DC to DC isolating signal transmitter | 573 | 333 | 301
PI-F | Frequency to DC isolating signal transmitter | 695 | 404 | 365
PI-B | Bridge to DC isolating signal transmitter | 614 | 357 | 323
PI-K | Resistance to DC isolating transmitter | 723 | 420 | 380
PI-P | Potentiometer to DC isolating transmitter (LV option NOT available) | 572 | 332 | 301
PI-R | RTD Pt100 to DC isolating transmitter (LV Power supply option NOT available) | 692 | 402 | 364
PI-S | Set point alarm unit. Two set points, two relay outputs | 675 | 392 | 355
LV | Power supply of 10~28Vac/dc fitted to any PI series transmitter (not for PI-M, PI-P or PI-R) | 80 | 47 | 42
Frequency to DC loop powered transmitter |  | NZ$ | US$ | EUR€
LPI-F | Frequency Input, 4~20mA Output - DIN rail mount unit | 450 | 261 | 237
DC to frequency transmitters |  | NZ$ | US$ | EUR€
TWI-FO | Isolating DC to frequency interface | 355 | 206 | 187
TWN-FO | Non-isolating DC to frequency interface | 355 | 206 | 187
Frequency to frequency transmitters |  | NZ$ | US$ | EUR€
TWI-FF | Isolating frequency input, divided, to open collector frequency output interface | 355 | 206 | 187
TWN-FF | Non-isolating frequency input, divided, to open collector frequency output interface | 355 | 206 | 187
X2A0T

## Page 5
Signal / Differential Pressure / Indicators
Signal Transmitters |  | NZ$ | US$ | EUR€
IN-LF | Line filter | 166 | 97 | 88
TW-FFA | Flow pulse amplifier | 338 | 197 | 178
Differential Pressure Transmitters (For Dry Non-Corrosive Gases) |  | NZ$ | US$ | EUR€
LPN-DP-100mm | Programmable spans from ±10 to ±100mm W.G. Factory set to 0~100mm W.G. | 725 | 421 | 381
LPN-DP-1000mm | Programmable spans from ±100 to ±1000mm W.G. Factory set to 0~1000mm W.G. | 725 | 421 | 381
4~20mA Panel Display - Surface Mount |  | NZ$ | US$ | EUR€
LPI-LCD-6 | 4~20mA Panel Display IP65 (4~20mA Calibrator is NOT required for setup) | 482 | 280 | 254
Process Indicators - Universal Power Supply 24~250Vac / 19.5~250Vdc |  | NZ$ | US$ | EUR€
IN-uP4 | Universal Input Indicator with no outputs. Universal Power Supply. | 299 | 174 | 157
IN-uP4X | Universal Input Indicator with 2x Relay outputs (250Vac, 3A Max.) plus 1x 4~20mA Analogue output. Universal Power supply. | 399 | 232 | 210
uP4-Din-R2 | Universal Input Indicator, DIN rail mount & 2 Relay Outputs. Universal Power Supply. | 378 | 220 | 199
uP4-Din-R2A | Universal Input Indicator, DIN rail mount & 2 Relay Outputs plus One Analogue Output (4~20mA or 0~10Vdc selectable). Universal Power Supply. | 500 | 290 | 263
XU-USB (Rev 2) | USB Programming Key for programming IN-uP4 / uP4-Din with uP Configure software | 103 | 60 | 55
Indicators for Special Applications - on Request:
IN-P | Multifunction Process Indicator
PRC1- | 1 x 4~20mA / 0~10V input + 24Vdc excitation | 545 | 317 | 287
R2- | 2 x 5A relay ouputs (for PRC1- model only) | 98 | 57 | 52
R4- | 4 x 5A relay outputs | 130 | 76 | 69
A- | 1 x 4~20mA / 0~10V analogue output | 118 | 69 | 62
WS485/ WS232 | 1 x serial port Isolated RS485 or RS232 (specify) | 160 | 93 | 84
LV | Low Voltage Power Supply, 15~48Vac / 10~72Vdc | 68 | 40 | 36
Other functions available for IN-P. Please contact Intech.
IN-R | Large Display Tachometer Indicator | 472 | 274 | 248
IN-RT | Flow Rate Indicator with Totaliser | 578 | 336 | 304
Common Options:
R2- | 2 x 5A relay outputs | 98 | 57 | 52
R4- | 4 x 5A relay outputs | 130 | 76 | 69
A- | 1 x 4~20mA / 0~10V analogue output | 118 | 69 | 62
WS485/ WS232 | 1 x Serial Port Isolated RS485 or RS232 (specify), Includes Modbus RTU (Not available for IN-R) | 160 | 93 | 84
LV | Low Voltage Power Supply, 15~48Vac / 10~72Vdc | 68 | 40 | 36
X3A0T

## Page 6
pH / Humidity / Signal Generator / Overvoltage / Light Intensity / Instrument Power Supplies
pH Transmitter |  | NZ$ | US$ | EUR€
LPI-pH | pH voltage to DC isolating transmitter with LCD display. See page 15 for pH probes | 935 | 543 | 491
Humidity transmitter |  | NZ$ | US$ | EUR€
IN-HWD | Humidity and Temperature Indicator / Transmitter - Wet & Dry bulb (IN-HWD (rev 2) replaces both 2100-A4-HWD and the older IN-HWD). | 860 | 499 | 452
Options
R4 | 4 x 5A Relay Outputs | 130 | 76 | 69
WS485 / WS232 | Serial Port RS232 or RS485; Includes Modbus RTU. | 160 | 93 | 84
LV | Low Voltage Power Supply; 15~48Vac / 10~72Vdc. | 68 | 40 | 36
Humidity wet and dry tank |  | NZ$ | US$ | EUR€
WDT-DW | Wet & Dry Humidity tank & probe assembly | 590 | 343 | 310
WDT-WICK | Spare wick cloth for wet bulb sensor | 10 | 6 | 6
Humidity transmitters |  | NZ$ | US$ | EUR€
LPN-H-D (Rev 1) | Humidity and temperature transmitter, Sensirion SHT25 Digital sensor, duct mount | 488 | 284 | 257
LPN-H-Flange | Optional 100mm flange for LPN-H-D | 192 | 112 | 101
LPN-H-W (Rev 2) | Humidity and temperature transmitter, Sensirion SHT25 Digital sensor, wall mount | 438 | 255 | 230
LPN-H-CAP | LPN-H Replacement Filter Caps | 20 | 12 | 11
Calibration canisters for LPN-H transmitters
LPN-H-CAL | Non spill calibration kit with 33% and 75% RH salt solutions including adaptor. | 340 | 198 | 179
Overvoltage protection unit |  | NZ$ | US$ | EUR€
LPN-OVP (Rev 1) | Standard DIN rail mount | 148 | 86 | 78
Light intensity transmitter |  | NZ$ | US$ | EUR€
LPN-LUX | Light intensity 4~20mA transmitter (replaces TWN-LUX) | 244 | 142 | 129
Instrument Power Supplies |  | NZ$ | US$ | EUR€
PSW-10-F | 24Vdc Output - 1A Output Current | 58 | 34 | 31
PSW-2-10-H | PSW-2 High Voltage Power Supply: 100~264Vac/dc. Output Voltage: 10Vdc. | 178 | 104 | 94
PSW-2-12-H | PSW-2 High Voltage Power Supply: 100~264Vac/dc. Output Voltage: 12Vdc. | 178 | 104 | 94
PSW-2-24-H | PSW-2 High Voltage Power Supply: 100~264Vac/dc. Output Voltage: 24Vdc. | 178 | 104 | 94
PSW-2-24-LV | PSW-2 Low Voltage Power Supply: 12~28Vac / 10~30Vdc. Output Voltage: 24Vdc. | 200 | 116 | 105
PSW-10-12 | PSW-10 High Voltage Power Supply: 100~264Vac/dc. Output Voltage: 12Vdc. | 289 | 168 | 152
PSW-10-24 | PSW-10 High Voltage Power Supply: 100~264Vac/dc. Output Voltage: 24Vdc. | 289 | 168 | 152
X4A0T

## Page 7
Wireless Z-2400-A2 Series / Multiplexers / Comms Converters / 2300 Series Remote Stations
Wireless Z-2400-A2 Series |  | NZ$ | US$ | EUR€
Z-2400-A2IO | One Wireless Output node and One Input node, Paired & supplied as a Kit: | 1110 | 644 | 583
Z-2400-A2I | Input Remote Wireless node. 2x Isolated Universal Inputs, 4x Digital I/O. Note: The Z-2400-A2I can also be used with the Z-2400 Series as part of a MicroScan SCADA Wireless system. See page 11. | Z-2400-A2IO Kit Only
Z-2400-A2O | Output Remote Wireless node. 2x 4~20mA Outputs, 4x Digital I/O. | Z-2400-A2IO Kit Only
Z-2400-A2R | Repeater node for Wireless Expansion. | 480 | 279 | 252
XU-USB (Rev 2) | USB Programming Key for programming Z-2400-A2 Series with uP Configure software | 103 | 60 | 55
Z-2400-A2 High Gain Antenna options ZA (instead of standard whip type). |  | See Page 11 for options and pricing
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the Z-2400-A2 Series | 58 | 34 | 31
Notes: | All Z-2400 Wireless modules require a 9~36Vdc power supply.
2.4GHz modules certified for use in USA, Canada, Europe, Australia and New Zealand.
Multiplexers | Power supply 85~264Vac/dc or 23~90Vdc (field selectable) | NZ$ | US$ | EUR€
2100-M-R | RTD Pt100 inputs | 1065 | 618 | 560
2100-M-I | mA inputs | 986 | 572 | 518
Converters Serial and Ethernet |  | NZ$ | US$ | EUR€
2400-IS | Isolated Auto-Detecting USB/RS232 to RS485/422/232 Converter | 480 | 279 | 252
2100-IS-USB | Isolating USB to RS485 or RS422 (selectable) Converter. Relay output for comms failure. | 512 | 297 | 269
2100-NET | Ethernet TCP/IP to RS232/422/485 converter | 950 | 551 | 499
The 2100-NET is used with the 2400/2100 series I/O Remote Stations and Shimaden Controllers when connecting via Ethernet TCP/IP.
The 2400-A16-NET and 2100-A16-NET connect directly via Ethernet TCP/IP.
2300-NET | Ethernet TCP/IP to RS485 converter, Modbus TCP to Modbus RTU, 24Vdc | 518 | 301 | 272
The 2300-NET is used with the 2300 series I/O Remote Stations when connecting via Ethernet TCP/IP.
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2300-NET | 58 | 34 | 31
2300 Stand-alone Analog & Digital input/output stations - Low cost - Connects to MicroScan V5 software
Modbus RTU with Modbus TCP option. Power Supply: 24Vdc |  | NZ$ | US$ | EUR€
Important: The 2300-XX stations cannot share a data hi-way with the 2400-XX / 2100-XX stations and/or Shimaden Controllers.
2300-A8II | 8x 4~20mA (0~20mA) inputs, 1.0KV isolation between each input | 679 | 394 | 357
2300-A8VI | 8x 0~10Vdc (2~10Vdc) inputs, 1.0KV isolation between each input | 640 | 372 | 336
2300-Tc8 | 8x Thermocouple & mV inputs, 350V peak isolation between each input | 687 | 399 | 361
2300-RTD6 | 6x RTD inputs, Pt100, Pt1000, Ni120, Ni1000 | 576 | 335 | 303
2300-MULTI | Combination inputs and outputs, single ended | 679 | 394 | 357
2x RTD inputs, 2x 4~20mA inputs OR 2x 0~10Vdc inputs, 1x 4~20mA output, 4x Digital inputs, 2x Digital outputs
2300-D16 | 16x Digital inputs | 402 | 234 | 212
2300-RO4 | 4x Relay outputs, Change over contacts, One output can be dedicated to Comms Fail Alarm | 378 | 220 | 199
2300-AO8I | 8x 4~20mA (0~20mA) outputs, single ended | 562 | 326 | 296
24Vdc Power Supply:
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2300 Series | 58 | 34 | 31
X5A0T

## Page 8
Multiplexers / 2400/2100 Series Remote Stations / eze System
2400-A16 Isolated Universal Analogue and digital input/output Multiplexer / SCADA station |  | NZ$ | US$ | EUR€
Remote station. Up to 16, Isolated Universal Analogue inputs. Dedicated Digital input and relay outputs. 85~265Vac, 95~370Vdc Power supply.
2400-A16-I16 | 16 Isolated Universal Input Channels, RS422/RS485 Comms. | 1800 | 1044 | 945
2400-A16-I8 | 8 Isolated Universal Input Channels | 1345 | 781 | 707
2400-A16-I16-NET-H | 16 Isolated Universal Input Channels, with Ethernet TCP/IP option connection fitted. | 2800 | 1624 | 1470
2400-A16-I16-SD-NET-H | Remote Station / Intelligent Multiplexer - 16 Inputs, SD Data Logging, Ethernet TCP/IP Comms, High Voltage Power Supply. | 2710 | 1572 | 1423
Options
-L | Power supply of 10~28Vdc fitted | 90 | 53 | 48
XU-USB (Rev 2) | USB Programming key for programming 2400-A16 with Intech Micro Station Programmer software (software also for data logging with the 2400-A16-SD-NET) | 103 | 60 | 55
2400-R2 Relay expansion unit for 2400-A16 |  | NZ$ | US$ | EUR€
2400-R2 | Relay output expansion unit for 2400-A16. Power supply 24Vdc, 10VA. | 880 | 511 | 462
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the 2400-R2 | 58 | 34 | 31
2100-A16 Analogue input Intelligent Multiplexer / SCADA station |  | NZ$ | US$ | EUR€
2100-A16 | Analogue input remote station. 16 analogue channels. Modbus RTU standard. Power supply 85~264Vac/dc or 23~90Vdc (field selectable) | 1880 | 1091 | 987
2100-A16-NET | Analogue input remote station. 16 analogue channels. Modbus RTU standard. Ethernet TCP/IP option connection fitted. Power supply 85~264Vac/dc or 23~90Vdc. | 2380 | 1381 | 1250
Note 1 | Input expansion: This is a standard feature. Supports up to four 2100-M multiplexers. The two analogue outputs are not available with this option.
Note 2 | Output expansion: Supports up to two 2100-R2 relay output modules. This unit allows the station to 'stand alone' as a 16 channel controller for a combination of control and alarm functions.
2100-R2 Relay expansion unit for 2100-A16 Power supply 85~264Vac/dc or 23~90Vdc (field selectable) |  | NZ$ | US$ | EUR€
2100-R2 | Relay output expansion unit (replaces 2100-R, can use 2x 2100-R2 with 2100-A16 rev 1.3) | 996 | 578 | 523
2100-D Digital input/output SCADA station Power supply 85~264Vac/dc or 23~90Vdc (field selectable) |  | NZ$ | US$ | EUR€
2100-D | Digital input/output remote station | 1293 | 750 | 679
Temperature Probes
Wall Mount RTD Probes |  | NZ$ | US$ | EUR€
WMR-S6.4-100-CB-N-N-N | Wall mount pvc conduit box probe. 6.4 x 100mm IP44 (-20~80°C). | 95 | 56 | 50
Gland | Optional cable gland for W | 10 | 6 | 6
WMR-S6.4-100-AH-N-N-N | Wall mount alloy head probe. 6.4 x 100mm IP67 (-40~110°C). | 150 | 87 | 79
Other Temperature Sensors available on request.
X6A0T

## Page 9
Data logging and SCADA Software Packages
Data logging and SCADA Software Packages - Comes complete with USB dongle |  | NZ$ | US$ | EUR€
MicroScan v5 software Recorder Packages
R8 | MicroScan recorder, 8 inputs, 8 outputs | 1560 | 905 | 819
R16 | MicroScan recorder, 16 inputs, 16 outputs | 1790 | 1039 | 940
R32 | MicroScan recorder, 32 inputs, 32 outputs | 1995 | 1158 | 1048
R50 | MicroScan recorder, 50 inputs, 160 outputs | 2110 | 1224 | 1108
R100 | MicroScan recorder, 100 inputs, 160 outputs | 2690 | 1561 | 1413
R200 | MicroScan recorder, 200 inputs, 160 outputs | 3640 | 2112 | 1911
R300 | MicroScan recorder, 300 inputs, 160 outputs | 4248 | 2464 | 2231
R400 | MicroScan recorder, 400 inputs, 160 outputs | 4850 | 2813 | 2547
R600 | MicroScan recorder, 600 inputs, 160 outputs | 5912 | 3429 | 3104
R800 | MicroScan recorder, 800 inputs, 160 outputs | 6985 | 4052 | 3668
R1000 | MicroScan recorder, 1000 inputs, 160 outputs | 7885 | 4574 | 4140
Maximum Recorder Lines = 1000 made up of 100 pages with 10 lines on each page
MicroScan v5 software Tag Packages including Recorder, Mimics, Shimaden, DDE
T50 | MicroScan software package, 50 tags | 2546 | 1477 | 1337
T75 | MicroScan software package, 75 tags | 3013 | 1748 | 1582
T150 | MicroScan software package, 150 tags | 4368 | 2534 | 2294
T300 | MicroScan software package, 300 tags | 5700 | 3306 | 2993
T500 | MicroScan software package, 500 tags | 7035 | 4081 | 3694
T750 | MicroScan software package, 750 tags | 8368 | 4854 | 4394
T5000 | MicroScan software package, 5000 tags | 9700 | 5626 | 5093
Maximum Tags = 5000 (max I/O = 5000)
SYM | Symbol Factory Library for Mimics images | POA | POA | POA
Optional software modules |  | NZ$ | US$ | EUR€
TB+ | MicroScan Tool Box | 1840 | 1068 | 966
PLC | PLC Interface - specify PLC make and model | 630 | 366 | 331
Network Drivers
P1 | Active PC will support 1 Passive PC | 998 | 579 | 524
P2 | Active PC will support 2 Passive PC's | 1525 | 885 | 801
P3 | Active PC will support 3 Passive PC's | 2050 | 1189 | 1077
P4 | Active PC will support 4 Passive PC's | 2580 | 1497 | 1355
P5 | Active PC will support 5 Passive PC | 3070 | 1781 | 1612
P6+ | Active PC will support 6 or more passive nodes | 3470 | 2013 | 1822
Upgrade options - Dongle / Software Key / Version / Package + Modules |  | NZ$ | US$ | EUR€
Version Upgrade | V4 to V5 = 35% of the equivalent V5 list price including all modules plus Dongle or License Key Upgrade | 35% | 35% | 35%
Package + Modules Upgrade | Upgrading to a larger package + modules combination. Price is the dollar difference between packages + modules plus and plus Dongle or License Key Upgrade | 230 | 134 | 121
Dongle Upgrade | If you require a USB (Super Pro) dongle (see Notes below) | 480 | 279 | 252
License Key Upgrade | If you already have a USB or Parallel (Super Pro) dongle. Replacement for lost file. | 198 | 115 | 104
Note 1: | Dongle options: USB (standard) or Parallel (on special request) - Dongle includes the License Key. Old Sentinel C dongles are now redundant and must be returned to Intech
Note 2: | USB dongles have the advantage of being able to move computer if required without incurring an additional charge. Important Note: Software locking is no longer available!
X8A0T

## Page 10
Z-2400 Series (Wireless MicroScan and Data Logging Communication)
ZigBee® Modules. Power Supply: 9~36Vdc. |  | NZ$ | US$ | EUR€
Z-2400-RB-T | ZigBee® Base or Router (RS485, RS422, RS232). 100mW | 486 | 282 | 256
Z-2400-TCP-T | ZigBee® Ethernet - MicroScan or Modbus Base Only. 100mW | 795 | 462 | 418
Z-2400-A2I | ZigBee® Input - 2x Universal inputs, 4x Digital inputs, 2x Digital outputs, 2x Relay outputs. 100mW. | 555 | 322 | 292
Z-2400-Sleeper-T | ZigBee® Sleeper Turbo Plug Powered & Battery Powered + 2 Universal Inputs. 1mW | 618 | 359 | 325
Z-2400-BAT | Replacement Z-2400-Sleeper battery | 69 | 41 | 37
XU-USB (Rev 2) | USB Programming Key for programming Z-2400-A2I and Z-2400-Sleeper with XU Software | 103 | 60 | 55
PSW-10-F | 24Vdc, 1.0A Instrument Power Supply for the Z-2400 Series | 58 | 34 | 31
Notes: | All Z-2400 Wireless modules require a 9~36Vdc power supply.
2.4GHz modules certified for use in USA, Canada, Europe, Australia and New Zealand.
2.4GHz Indoor /Outdoor High Gain Antennas |  | NZ$ | US$ | EUR€
2.4Ghz Indoor Antennas for Z-2400 Series.
ZB-ANT-05 | Antenna 2.4GHz 5.5dBi Rubber Duck Indoor Only | 41 | 24 | 22
ZB-P-45 | Extension Coax for Z-2400 Series Indoor Antenna. RP-SMA Type with Bulkhead 0.2m. | 32 | 19 | 17
2.4Ghz Outdoor Antenna Kits for Z-2400 Series.(Outdoor antennas are supplied with mounting brackets and coax-seal)
ZA-OD24-2 | Outdoor 2.2dBi Omni Directional Whip Antenna, wall mount bracket complete with 0.5m Coax Cable with bulkhead and 1.5m Coax Seal. | 130 | 76 | 69
ZA-OD24-8 | Outdoor 8dBi Omni Directional Monopole Antenna complete with 5m Coax Cable and 1.5m Coax Seal. | 344 | 200 | 181
Other options available on request: https://www.intech.co.nz/product/z-2400-a2-antennas/
Submersible Level Transmitters
IN-LLT Series (Rev 1) - Submersible Level Transmitters for Water applications |  | NZ$ | US$ | EUR€
IN-LLT-C-1 | 0~1m H2O, with 10 metres of cable. 4~20mA output. | 870 | 505 | 457
IN-LLT-C-5 | 0~5m H2O, with 10 metres of cable. 4~20mA output. | 870 | 505 | 457
IN-LLT-C17-10 | 0~10m H2O, with 15 metres of cable. 4~20mA output. | 984 | 571 | 517
IN-LLT-C17-20 | 0~20m H2O, with 30 metres of cable. 4~20mA output. | 1060 | 615 | 557
IN-LLT-C17-50 | 0~50m H2O, with 60 metres of cable. 4~20mA output. | 1230 | 714 | 646
IN-LLT-C17-100 | 0~100m H2O, with 110 metres of cable. 4~20mA output. | 1458 | 846 | 766
IN-LLT-V-5 | 0~5m H2O, with 10 metres of cable. 0~5Vdc output. | 710 | 412 | 373
LPN-OVP (Rev 1) | Overload protection unit for lightning | 148 | 86 | 78
NAA-101 | Terminal box with filter without OVP | 92 | 54 | 49
NAA-102 | Terminal box with filter and integral OVP | 432 | 251 | 227
NAA-209 | Overload protection unit for lightning | 40 | 24 | 21
X10A0T

## Page 11
Data Loggers
HR Series Data Loggers - rugged 304 stainless steel case |  | NZ$ | US$ | EUR€
T-HR | Single temperature. IP68 rating | 396 | 230 | 208
HT-HR | Humidity and temperature | 528 | 307 | 278
Tc-HR | Dual temperature. Type J, K, N, R, T (Does not include thermocouple probe) | 486 | 282 | 256
HHT-03 | Type K thermocouple temperature probe for Tc-HR | 68 | 40 | 36
Tc-HR Plug Set | 70mm lead c/w plugs (Specify thermocouple type). Includes Switchcraft plug (logger end) and Mini jack (connects to T/c Mini plug). Mini plugs are also available on request. | 50 | 29 | 27
Pt-HR | Dual temperature. RTD Pt100/Pt500/Pt1000 (Does not include RTD probe) | 486 | 282 | 256
TP-Pt100 | RTD Pt100 temperature probe for Pt-HR, range -100~150°C | 145 | 85 | 77
mV-HR | milli-Volt ±50mV / ±100mV / ±200mV / ±400mV dc range (does not include test lead) | 482 | 280 | 254
mV-HR Lead | Test lead set | 95 | 56 | 50
WT-HR | Water level, air temperature, and water temperature
5 ranges | 0~0.5m WT-HR-500 | 710 | 412 | 373
| 0~1.0m WT-HR-1000 | 780 | 453 | 410
| 0~1.5m WT-HR-1500 | 850 | 493 | 447
| 0~2.0m WT-HR-2000 | 890 | 517 | 468
| Option for 316 S/S for salt water | 123 | 72 | 65
pH-HR | pH and temperature (Does not include pH probe - see Page 15 for probes) | 486 | 282 | 256
pH-HR Plug Set | Fit plug set to pH sensor for use with pH-HR logger. We recommend using a pH sensor fitted with a RTD Pt100 sensor for the best possible accuracy. | 50 | 29 | 27
GP-HR | 4 input general purpose logger (Also requires the Add on probe sets below) | 500 | 290 | 263
Add on probe sets for GP-HR | Standard probe sets are listed. Other combinations available - Contact Intech.
mA1-PS | One 4~20mA or 0~20mA input | 70 | 41 | 37
mA3+P-PS | Three 4~20mA or 0~20mA inputs c/w one pulse input | 90 | 53 | 48
##VD3-PS | Three DC voltage inputs. ## = Specify voltage up to 32Vdc | 80 | 47 | 42
L-PS | Light energy cable. | 80 | 47 | 42
Pt3-PS | Three RTD Pt1000 temperature probes, range -50~130°C (Logger maximum RTD Pt1000 range is -100~400°C) | 230 | 134 | 121
P100-HR-PS | Pressure sensor. Range = -15~100psi (Overload 200psi, Burst 500psi). | 575 | 334 | 302
P300-HR-PS | Pressure sensor. Range = -15~300psi (Overload 600psi, Burst 1500psi). | 575 | 334 | 302
R-PS | One Slow Pulse for Rain Gauge input | 63 | 37 | 34
Flow-mA2-PS | Coil or open collector plus two 4~20mA inputs | 125 | 73 | 66
ACM-mA2-PS | Flow metering off the pump run contact plus two 4~20mA inputs | 110 | 64 | 58
Replacement Battery Kits
DLC3 Tester | Contains One Mark4 battery. Comes complete with stainless tube, 2 Orings & new label. | 125 | 73 | 66
DLC3 Tester Kit | Contains Three Mark4 batteries. Comes complete with stainless tube, 2 Orings & new label. | 200 | 116 | 105
HR-Battery Mk4 | Spare Mark4 battery ONLY available at the time of purchase of an HR Data logger. | 73 | 43 | 39
HR-Battery Mk3 | Mark3 loggers must be returned to Intech for factory replacement of batteries.
DLC3USB | Spare HR Series download cable (USB) | 135 | 79 | 71
Omni7 software is free to download from our website
X10A0T

## Page 12
Data Loggers continued
Data Loggers (continued) |  | NZ$ | US$ | EUR€
GP-MC | 10 channel universal input logger (Also requires the Add on probe sets below) | 750 | 435 | 394
Seahorse | Option: IP66 Weatherproof enclosure | 340 | 198 | 179
Add on probe sets for GP-MC | GP-MC Inputs are individually configurable using OmniLog. Each input requires conditioning using a 'Probe Set'. Probe set prices are per input as follows: Contact Intech for other available options.
mA-MC-PS | One 4~20mA or 0~20mA input | 50 | 29 | 27
##VD-MC-PS | One Voltage input - available ranges are: 5VD-MC-PS = 0~5Vdc, 10VD-MC-PS = 0~10Vdc, 24VD-MC-PS = 0~24Vdc, 32VD-MC-PS = 0~32Vdc. Maximum voltage input for the GP-MC is 32Vdc - for voltages above 32Vdc use an intermediary transmitter like the PI-D | 56 | 33 | 30
P100-MC-PS | Pressure sensor. Range = -15~100psi (Overload 200psi, Burst 500psi). | 550 | 319 | 289
P300-MC-PS | Pressure sensor. Range = -15~300psi (Overload 600psi, Burst 1500psi). | 550 | 319 | 289
Pt1000-MC-PS | RTD Pt1000 Temperature Probe, range -50~130°C Logger maximum RTD Pt1000 temperature range is -100~400°C | 110 | 64 | 58
Flow-MC-PS | Coil or open collector | 125 | 73 | 66
ACM-MC-PS | Flow metering off the pump run contact | 110 | 64 | 58
DLC5USB | Spare GP-MC download cable (USB) | 135 | 79 | 71
Omni7 software is free to download from our website
LCD Series | LCD display means realtime readings can be viewed without connecting the logger to a computer.
HT-LCD | Humidity and Temperature (Internal) ±3.0%RH accuracy from 20%RH to 80%RH | 490 | 285 | 258
THT-LCD | Humidity and Temperature (External) (complete with standard HT11-Probe) | 650 | 377 | 342
HT11-Probe | Digital humidity sensor with ±3.0%RH accuracy from 20%RH to 80%RH | 260 | 151 | 137
Tc-LCD | Dual temperature. Accepts Thermocouple Types J, K, N, R, T (Does not include probe) | 475 | 276 | 250
HHT-03 | Type K temperature probe for Tc-LCD | 68 | 40 | 36
Pt-LCD | External RTD temperature sensor, range -200~600°C (Does not include probe) Accepts RTD Pt100, Pt500 and Pt1000 type probes. | 475 | 276 | 250
TP-Pt100-LCD | RTD Pt100 temperature probe for Pt-LCD, range -100~150°C | 150 | 87 | 79
P-LCD | Pressure (Does not include sensor) Sensor (1/8 inch NPT) options below: | 475 | 276 | 250
P100-LCD-PS | Range -15~100psi (Overload 200psi, Burst 500psi) with 500mm cable | 398 | 231 | 209
P300-LCD-PS | Range -15~300psi (Overload 600psi, Burst 1500psi) with 500mm cable | 398 | 231 | 209
Seahorse | Option: IP66 Weatherproof enclosure for LCD Series data loggers | 340 | 198 | 179
DLC8USB | Spare LCD Series download cable (USB) | 135 | 79 | 71
Omni7 software is free to download from our website
X11A0T

## Page 13
Weather Sensor Transmitters - 4~20mA Outputs / pH Sensors
Weather Sensor Transmitters - 4~20mA Outputs (Individual) |  | NZ$ | US$ | EUR€
H-CL | Humidity sensor c/w 1.5m cable (0~100%) | 300 | 174 | 158
T-CL | Temperature sensor c/w 1.5m cable (-30~70°C) | 260 | 151 | 137
BP-CL | Barometric Pressure sensor c/w 1.5m cable (700~1100hPa) | 300 | 174 | 158
LE-CL | Light energy sensor c/w base plate and 5m cable (0~1500 w/m²) | 555 | 322 | 292
WS3-CL | Wind speed (3 cup) c/w 5m cable (1.5m/sec start, 20mA = 60m/sec) | 880 | 511 | 462
WS6-CL | Wind speed (6 cup) c/w 5m cable (0.45m/sec start, 20mA = 80m/sec) | 1190 | 691 | 625
WD-CL | Wind direction c/w 5m cable (0°~360°) | 880 | 511 | 462
RAIN | 0.2mm Rain Gauge, Pulse output, Pole mount. | 535 | 311 | 281
RAIN-CL | 0.2mm Rain Gauge (4~20mA output via included PI-F transmitter, 0~55mm/hr) | 1260 | 731 | 662
Mounting Options
LB | L-Bar with attachment plate and two 50mm U bolts | 152 | 89 | 80
TB | T-Bar with attachment plate and two 50mm U bolts | 200 | 116 | 105
Shield | Solar Radiation Shield - used for more accurate measurement of temperature, humidity and barometric pressure sensors. (Does not include sensors) Must be attached to L-Bar or T-Bar. | 360 | 209 | 189
Weather Sensor Transmitters - 4~20mA Outputs (Fully Mounted on T-Bar mounting arm) |  | NZ$ | US$ | EUR€
WS3-WD-TB-CL | Wind speed 3 cup, wind direction, mounted on T-Bar c/w 5m cable | 2040 | 1184 | 1071
WS3-WD-THP-TB-CL | Wind speed 3 cup, wind direction, Temperature, Humidity and Barometric Pressure Sensors, all housed in solar Radiation Shield mounted on T-Bar mounting arm c/w 5m cable. | 3410 | 1978 | 1791
THP-LB-CL | Temperature, Humidity and Barometric Pressure Sensors, all housed in solar Radiation Shield mounted in L-Bar mounting arm c/w 5m cable. | 1500 | 870 | 788
Options
WS6 | Fit WS6 (Wind speed 6 cup), instead of WS3 (used for lower starting speeds) | 345 | 201 | 182
LE-CL | Light Energy Sensor | 555 | 322 | 292
pH & ORP Sensors - Wedgewood Analytical |  | NZ$ | US$ | EUR€
M-10 | General purpose ½” NPT pH sensor | 435 | 253 | 229
M-10-ORP | General purpose ½” NPT ORP sensor | 520 | 302 | 273
M-11 | General purpose ¾” NPT pH sensor | 598 | 347 | 314
M-11-Pt100 | General purpose ¾” NPT pH sensor. Includes a RTD Pt100 sensor | 738 | 429 | 388
M-11-Pt100-HT | General purpose ¾” NPT pH sensor. High temp. version including a RTD Pt100 sensor | 862 | 500 | 453
M-12 | General purpose ¾” NPT pH sensor | 602 | 350 | 317
M-12-Pt100 | General purpose ¾” NPT pH sensor. Includes a RTD Pt100 sensor | 744 | 432 | 391
M-12-Pt100-HT | General purpose ¾” NPT pH sensor. High temp. version including a RTD Pt100 sensor | 862 | 500 | 453
M-21 | General purpose ¾” NPT pH sensor with long insertion length | 665 | 386 | 350
M-21-Pt100 | General purpose ¾” NPT pH sensor with long insertion length. Includes a RTD Pt100 sensor | 780 | 453 | 410
M-21-Pt100-HT | General purpose ¾” NPT pH sensor with long insertion length. High temp. version including a RTD Pt100 sensor | 890 | 517 | 468
X13A0T